RBC  Histogram  as supplementary diagnostic tool with peripheral smear examination in evaluating anemia

Introduction

Evaluation of anemia for diagnosis and management of various red blood cell (RBC) disorders through red blood cell histogram is a vital part. Complete blood count parameters like red cell distribution width(RDW) and  mean corpuscular volume(MCV) are useful along with histogram for interpretation of abnormal red blood cell morphology.[1,2] The Normal Red cell distribution curve is a bell shape and curve peak should be within the normal MCV of 80.0-100.0fl. The narrow red cell distribution curve indicates homogenous population of cells and wider red cell distribution curve indicates a heterogenous population of red cell. In megaloblastic anemia where the red blood cells are larger, the histogram curve will  shift to right and the curve will move to left if the cells are smaller than  normal  like in microcytic anemia. After treatment of underlying cause in anemia, the curve  should shift toward the normal range . In dimorphic anemia the histogram curve may show multiple peaks due to two distinct red cell populations. After treatment of the cause of an anemia curve should move toward the normal range. Even when MCV is normal, RDW is a good indicator of anisocytosis. [3] Higher RDW represents dual population of cells like small cells, some normal size cells, and immature red cells during degenerative response to anemia which are larger than normal. Histogram can be useful for monitoring the reliability of results of analyzer, potential causes of results and arriving at the probable diagnosis.[3]

Materials and methods

The data has been taken from the period of 1-November-2016 to 1- December-2016, central laboratory, narayana general hospital&medical college, Nellore Andhra pradesh, India.

Sample size:220

Type of study: Retrospective study

Data analysis: The Red blood cell histograms of all anemic patients visiting the central diagnostic laboratory of Narayana general hospital were analyzed. The Red blood cell histogram correlated with peripheral smear interpretation when the haemoglobin is low. The spectrum of variations in Red blood cell histograms tabulated with types of anemias based on peripheral smear interpretation.

Complete blood count  including haemoglobin , total leucocyte count(TLC), differential leucocyte count(DLC),    platelet  count and blood indices  were obtained  by Beckman coulter LH 780 automated  analyser along with histogram. To maintain validity of LH 780 Automatic analysis machine quality control was done. Peripheral smear examination was also done.

Normally volume of RBCs from 34fl to 150fl represents a good cell distribution ideally .

If the graph starts before 34 fl and touches the baseline before 150fl are considered to be a left  shift indicates microerythrocytosis.

If the graph  starts after 34fl and touches the base line after 150fl are considered to be a right shift indicates macro erythrocytosis.

If   graph starting at 34fl and ending between 225-250 fl are considered to be a broad base

If the RBCs Populations has two morphologies then the graph will have two peaks representing to their respective morphology and called as dimorphic red cells.

If the RBCs population will have single lineage of cells seen, the graph will be constraint and will look like short peak.

Data was analysed using SPSS 22 and P-value was calculated using chi-square & degree of freedom. p value of 0.05 or less  was considered statistically significant.

INCLUSION CRITERIA:

All cases of anemia with  low haemoglobin .

For men anemia is defined as haemoglobin level less than 13.5 gm/100ml and in women as  haemoglobin of less than12.0 gm/100ml.

Based on peripheral smear interpretation ,different types of anemias like normocytic normochromic,microcytic hypochromic,macrocytic,dimorphic and pancytopenia were incuded in our study.

EXCLUSION CRITERIA:

Patient having leukocytosis, leukemaiod reaction, leukaemia, parasites and platelet disorders

RESULTS

In our study of histograms of various types of anemia  total 220 cases were studied. This study includes predominantly females 154(70%) and males 64(30%).  Maximum number of anemia cases were noted in 30-40 years of age range(Table-1).All cases had anemia with hemoglobin less than 12 gm/dl. All these cases consists of Normocytic normochromic anemia, Microcytic hypochromic anemia, dimorphic anemia and pancytopenia were diagnosed by peripheral smear. In our study 43 (19.54%) cases are normocytic normochromic anemia, 140(63.63%) cases are of microcytic hypochromic anemia, 5 (2.2%) cases are of macrocytic anemia and 28(12.72%) cases are of dimorphic anemia. Pancytopenia was seen in 4 (1.8%) cases (Table-2).  Our study of 220 cases showed normal curve in 39(17.7%) cases ,left shift  in 64(29%),right shift in 12(5.45%) ,Broad base in 83(37.72),short peak in  6(2.7%)  cases and bimodal  in  6(7.27%) cases(Table-3).  In our study in normocytic normochromic anemia, cases shows MCV, Mean corpuscular hemoglobin (MCH), Mean corpuscular hemoglobin concentration(MCHC) and RDW within normal limits with few cases showing mild increase in RDW. In Microcytic hypochromic anemia MCV, MCH, are less than normal range with normal MCHC and increased RDW due to ansiopoikilocytosis. In Macrocytic anemia increase in MCV, MCH, RDW with normal MCHC due to variation in size & shape of the RBCs..In Dimorphic anemia, MCV, MCH, MCHC   were in the normal limits and RDW was increased due to high degree of ansiopoikilocytosis. In pancytopenia only change noticed in red cell indices are increased RDW with normal MCV, MCH, and MCHC. In our study out of 43(19.54%) cases of normocytic normochromic anemia, 26(11.8%) showed normal curve and 17(7.72) % showed broad base curve. Out of 140(63.23% )cases of microcytic hypochromic anemia 7(3.18 % )were normal,60(27.27% ) showed  left shift curve,60(27.27%) showed broad base curve,7(3.18%) showed bimodal curve histogram. and 6( 2.72% )showed short peak . Out of total 28(12.7% )cases of dimorphic anemia ,9(4)% showed  normal curve, 4(1.81%) showed left curve,  right curve9(4% ), broad base curve 4(1.81%)and 2 (0.9% )showed bimodal curve. All 5 (2.2%) cases of  macrocytic anemia showed right shift curve. All pancytopenia cases were broad base curve (Table-4)

Discussion

The RBC histogram is a graphic representation of particle size distribution in automated cell analyser.  This is a standard part of complete blood picture. It provides clues in management and diagnosis of various red cell disorders and give information regarding to RBC parameters like RDW, MCH and MCV. [1, 2] Normal curve is symmetrical bell shaped or Gaussian distribution. Normal curve falls within normal MCV range 80-100fl.The RBC histogram in the cell counter displays the cell ranges for RBC are between 24fl and 360fl. The instrument counts only those cells with volume sizes between 36fl to 360fl as red cells .Those cells counted in the range 24fl to 36 fl are rejected and not include in the RBC count. Normally below 36fl size space is clear, but histogram begin above base line indicates presence of small particles like microspherocytes, malaria parasite, platelet clumps, normoblast, eliptocytes, bacteria,  etc. [3,4] RBC histogram follows well known coulter principle of counting and sizing red cells providing the basis for generating the histogram. This method relies on the change in conductance as each cell passes through an aperture. The change in conductance results in an electrical pulse, the amplitude of which is proportional to the cell volume. The  y axis represents the number of cells per channel, with each cell being stored in the representing its size ,so that after data is further processed by the computer, and the RBC Curve is smoothed by a moving average technique and displayed on a data management system. WBCs presented in RBC channel and counted with red blood cells. RBC Histogram is affected if WBCs count is more than 50000 cells.  The presence of right sided shoulder usually corresponds to reticulocytosis and a trailer of erythrocyte population on the far right of the histogram correlates to red cell agglutination.

In our study out of 220 anemia cases, 43 (19.54%) of the cases are Normocytic normochromic anemia ,140(63.63%) of the cases are Microcytic hypochromic anemia, 5 (2.2%) Cases with macrocytic anemia and 28(12.72%) cases are dimorphic anemia. Pancytopenia seen in 4 (1.8%) of the cases .Our findings  regarding distribution of anemia cases were  correlated  with sandhya [5] and  Chavda  J [6] (Table-5). Our study out of 220 cases showed normal curve39 (17.7%), left shift 64(29%), right shift12(5.45%)  Broad base83 (37.72%), short peak 6(2.7%) and bimodal 6(7.27%). Our findings regarding to RBC histogram were correlated with other studies like sandhya [5] and Chavda J [6] (Table-6).  In normocytic normochromic anemia, the red cell indices like MCV, MCH and MCHC were within the normal limits with some cases showing mild increase indices. The population of the cells would be variable in size. Like some microcytic cells with predominance of normal size cells that results in a higher deviation and hence higher RDW. In our study  out of 43(19.54%) cases of normocytic normochromic anemia, 26(11.8% ) showed normal curve and 17(7.72)% showed broad base curve. These finding were correlated with study carried by Chavda J. [6]

In the microcytic hypochromic anemia, MCHC may be normal but MCV and MCH are decreased. RBC   population with low MCV will be shifted toward left. A broad base curve because of high RDW represents anisocytosis.  RDW is also increased when there is increase number of smaller cells like in iron deficiency anemia. In  present study MCV and MCH were less than normal in microcytic anemia  with normal MCHC and increased RDW due to ansiopoikilocytosis as noted in peripheral smear study. Out of 140(63.23% )cases of microcytic hypochromic anemia 7(3.18 % )were normal,60(27.27% )were left shift curve,60(27.27%) showed broad base curve,7(3.18%) showed bimodal curve histogram. and 6( 2.72% )showed short peak. .These finding were correlated with study carried out by sandhya [5] and  Chavda J. [6] The short peak well correlated with low haemoglobin and red cell count.

In dimorphic anemia the histogram may have 2 or more red cell populations, whereas in dual populations, the histogram has 2 distinct red cell populations. In dimorphic blood picture there may be dual population of microcytic & normocytic or normocytic & macrocytic red cells or admixture of small, normal and large cells of different sizes or admixture of patient and donor red cells. In our study in dimorphic anemia, a MCV, MCH and MCHC were normal and increased RDW due to marked ansiopoikilocytosis. The dimorphic RBC showing bimodal curve along with some cases showing left and right shifting of curve. The reason for dimorphic population may be nutrional anemia, recent blood transfusion or response therapy to nutrional anemia. [7]  Out of total 28(12.7% ))cases of dimorphic anemia 9(4)% showed normal curve, 4(1.81%) showed left curve  04% showed  right curve 9(4% ),  broad base curve 4(1.81%) and 2 (0.9% )showed  bimodal curve. These finding were correlated with study carried out by sandhya [5] and Chavda J. [6]

In macrocytic anemia right shift with broad based curve means low Hb and macrocytic blood picture.  As Causes of macrocytosis vary from benign to malignant, complete approach is essential to determine  the etiology. [8, 9]  Macrocytosis may occur at any age, but it is more prevalent in old age. [10] In our study macrocytic anemia due to variation in size and shape of the RBC’s, increased MCV, RDW, MCH were noted with normal MCHC. All 5 (2.2%) cases of  macrocytic anemia showed right shift curve. This finding was correlated with Sandhya. [5] Right shift curve correlated well with increased MCV and MCH. All pancytopenia cases were broad base curve and correlated with Sandhya. [5]

Histogram plays a vital role as working tool in early stage of morphological analysis when combined with concept of normal curve and the knowledge of particular complete blood count  parameters like red cell distribution width and red cell indices. Presumption of  presence of  fragments, microcytic hypochromic, macrocytic or dimorphic red cells, and different combinations of cells is possible by observations of outlines of histograms. In addition MCV and MCV provide an idea about distribution of red cell histogram.

Conclusion:

Along with peripheral smear examination, diagnosis of RBC disorders is supplemented by histogram and they provide guidance regarding RBCS morphology, blood indices and Hb value. While interpreting microscopic examination of peripherial smear , good idea can be obtained from reviewing histograms.

References

- Bessman  JD, Gilmer PR Jr,Gardner FH.Improved classification of anemias by MCV and RDW.Am J clin pathol.1983: 80(3):322-6

- Fossat C,David M,Harle JR ,Sainty D,Horschowski N,Verdot JJ,Mongin M et al. New parameters in erythrocyte counting.value of histograms. Arch pathol Lab Med.1987;111(12):1150-54

- Gulati GL, Hyun BH; The Automated CBC. A current perspective.Hematol oncol Clin North Am.1994;8(4):593-603

- Bessman JD.Red bllod cell fragmentation: Improved detection and identification of causes.Am j clin pathol.1988:90(3):268-73

- Sandhya I,Muhasin T.P. Study of RBC Histogram in various anemias. Journal of Evolution of Medical and Dental sciences 2014; 3( 74),15521-34

- Chavda J, Goswami P, Goswami A..RBC histogram as diagnostic tool in  anemias.IOSR Journal of Dental and Medical Sciences .2015;14(10), 19-22

- Benie T.Constantino,SH,I;ART,MLT(CSMLS).The Red Cell Histogram and The Dimorphic Red Cell Population.LAB MEDICINE.2011;42(5):300-8

- Brigden ML. A Systemic approach to macrocytosis: sorting out the causes.postgrad Med.1995;97(5):171-84.

- Argento V,Roylance J,Skudlarska B,et al.Anemia prevalence in a home visit geriatric populations. J Am   Med Dir Assoc, 2008;9(6):422-6

- Younis M,Daugher,GA,Dulanto JV,Njeim M,Kuriakose P.Unexplained macrocytosis.South Med J.2013;106(2):121-5